May Svalbard Expedition Plan 2021

Amy Solman

# Equipment Prep

TBC

# Field Sampling

- Wear bodysuit and latex gloves to reduce sample contamination.

- At sampling point, prior to sample collection, record GPS coordinates, elevation and temperature.

- Take snow sample for microbial analysis. Using ethanol sterilized Teflon shovel fill two sterile 3 L sampling bags (Table 1).

- Take snow sample for DOC analysis and deposit directly into combusted glass jars.

- Take snow sample for chemical analysis and place in sterile Whirl-Pak bag (Holland et al., 2019).

- After collecting snow sample, remove remaining snow at sample point until ice is reached. Use an ice corer to extract ice sample.

- Repeat ice collection for microbial, DOC and chemical analysis.

- Repeat for all 12 sampling points.

- Take three sets of procedural blanks for microbial, DOC and chemical analysis by filling three 3 L bags, three 1 L bags and three jars with autoclaved Milli-Q water (Holland et al., 2019).

- Keep all samples frozen and return to field laboratory.

# Field Lab Processing

- Melt all samples at room temperature (Larose et al., 2013; Holland et al., 2019).

- Take small subset of each 16S/18S gene snow/ice sample and use meters to test for pH and conductivity.

- Microbial analysis 16S/18S rRNA gene/gene transcript sequencing (Larose et al., 2013):

  - Filter each 3L melted sample through one sterile 0.2 µm 47 mm filters using a sterile filtration unit.

  - Store in sterile bead-beating tubes at -20C for transport back to the UK (Larose et al., 2013).

- Microbial analysis metagenomics/metatranscriptomics: as above.

- Microbial analysis BONCAT (Lindivat et al., 2020):

  - Filter 1 L melted samples at 100 m to avoid instrument clogging.

  - Prepare ﻿100 mM L-homopropargylglycine (HPG) pH 7.0 ﻿in pure Dimethyl Sulfoxide (DMSO), pass through 0.2 μm sterile filter and kept at 4°C.

  - Dilute HPG in milliQ water and add to samples in triplicate.

  - Prepare 6 negative control samples without HPG.

  - Prepare 6 control samples with Chloramphenicol added to HPG.

  - Incubate samples in the dark.

  - After incubation, samples were fixed with 0.2 μm-filtered formaldehyde to a final concentration of 3% before storing at −20°C for return to UK.

- DOC samples (Holland et al., 2019):

  - Wash glass filtration column three times with sample meltwater.

  - Filter sample using glass filtration column and a furnaced 47mm, 0.7 m GF/F.

  - Store filtrate in pre-furnaced amber glass vial.

  - Acidify with 100 L of 1M HCl. Chill sample to 3C for transport back to UK.

  - Repeat for 3 procedural blanks with sterile water.

- Dissolved nutrient samples:

  - Flush syringe and plastic tubing with sample meltwater.

  - Filter through 0.2 m 13mm polypropylene filter or 25mm cellulose acetate filters

  - Store in high-density polyethylene plastic bottle.

  - Freeze bottle at -20C and store for transport back to UK (Holland et al., 2019).

  - Repeat with sterile water for 6 procedural blanks.

# UK Lab Processing

## Measure DOC  (Holland et al., 2019)

  - Use a Shimadzu TOC-L Organic Carbon Analyzer with a high-sensitivity catalyst. Measure non-puragable organic carbon (NPOC) after acidification of samples with HCl and catalytic combustion (680C) of dissolved organic carbon to carbon dioxide, then measure by infrared absorption. LOD=9.5 µM.

## Measure DON

  - DON = TDN-DIN (NH4+ + NO3- + NO2-). Calculate Total dissolved nitrogen and dissolved inorganic nitrogen.

    - To measure TDN: Digest samples with purified potassium persulfate, sodium hydroxide and boric acid reagent and autoclaving at 121C for 30 mins.

    - Measurements of TDN based on hydrazine-sulphanilamide reaction method measured at 540 nm (Holland et al., 2019).

## Measure DOP

  - DOP = TDP - DIP (Holland et al., 2019). Calculate total dissolved phosphorus and dissolved inorganic phosphorus.

    - To measure TDP: Digest samples with purified potassium persulfate, sodium hydroxide and boric acid reagent and autoclaving at 121C for 30 mins.

    - Measurements of TDP based on hydrazine-sulphanilamide reaction method measured at 540 nm.

## Measure PO43- (DIP)

  - Automated colorimetric flow injection analysis (Seal AQ2) (Heppell et al., 2014)

## Measure cations

  - Acidify samples prior to nebulizing.

  - NH4+ (DIN)

    - Automated colorimetric flow injection analysis (Seal AQ2) LOD = ﻿0.03mgN L-1 (Heppell et al., 2014)

  - Fe:

    - Inductively coupled plasma optical emission spectroscopy (ICP-OES) (Varian Vista-Pro) LOD = ﻿0.01 mgL-1 (Heppell et al., 2014).

  - K+

    - Inductively coupled plasma mass spectrometry (ICP-MS)

  - Mg2+

    - ICP-MS

  - Na+

    - ICP-MS

## Measure anions

  - NO3- (DIN)

    - Ion chromatography (IC) (Dionex-ICS2500) LOD = ﻿0.04 mg N L-1 (Heppell et al., 2014)

  - NO2- (DIN)

    - Automated photometric analyser LOD = ﻿0.14µM (Holland et al., 2019)

  - SO42-

    - IC (Dionex-ICS2500) LOD = ﻿0.3 mg S L1 (Heppell et al., 2014)

  - Ca-

    - IC

  - Cl-

    - IC (Dionex-ICS2500) LOD = ﻿0.7 mg L-1  (Heppell et al., 2014)

## 16S/18S rRNA gene and gene transcript sequencing

- Below method taken from Denef et al., 2016.

- Carry out duplicate nucleic acid extractions from each filter membrane for each field sample (48 extractions total) (Denef et al., 2016). Extract RNA-free DNA and DNA-free RNA using a universal DNA/RNA kit (e.g. AllPrep DNA/RNA/miRNA Universal kit).

- Convert RNA to cDNA using a cDNA Synthesis Kit.

- Have each DNA and cDNA sample sequenced, targeting both 16S and 18S rRNA genes

## BONCAT

- Below method taken from Lindivat et al., 2020.

- Centrifuge samples for 5 minutes at 16,000 x g

- Resuspend cells in 1 ml of 0.2 m filtered phosphate buffered saline (PBS), pelleted by centrifugation, resuspended and treated using 1 ml 50% ethanol

- Incubate for 3 minutes at room temperature.

- Centrifuge for 5 minutes at 16,000 x g and remove ethanol.

- Wash and suspend cells in 1 ml 1x PBS.

- Prepare: copper sulfate diluted with MilliQ water to 20 mM and store at 4C.

- Prepare: 50 mM Tris ﻿[(1-hydroxypropyl-1H-1,2,3-triazol-4-yl)methyl] amine with MilliQ water and store in aliquots at -20C.

- Prepare: 100 mM sodium ascorbate in 1x PBS and 100 mM aminoguanidine hydrochloride in 1x PBS.

- Click chemistry reaction performed in the dark

  - Incubate ﻿pre-mixed solution of ~100 μM CuSO4, 500 μM THPTA ﻿and 5 μM azide dye for 3 minutes

  - Add Sodium ascorbate and aminoguanidine to each sample, followed by 17.5 l of pre-mix in Eppendorf tubes in 1.15 mL volume.

  - Mix sample by turning the tube then incubate in th1 dark for 30 minutes.

  - Centrifuge samples at 16,000 x g for 5 minutes.

  - Wash samples two times with 1x PBS.

  - Suspend in sterile 1x PBS or 1x TE buffer.

- Double Staining Procedure

  - ﻿Total bacterial numbers will be determined by flow cytometry after DNA staining using either LDS 751 or SYBR Green.

  - Samples with azide AF488 labeled proteins will be stained with 10 μl of 20 μg/ml LDS 751 stock solution, then incubated for 10–15 min in the dark at room temperature.

  - Samples with AF405 azide and AF647 azide labeled proteins will be stained with 10 μl of 100x SYBR Green for 10–15 min in the dark at room temperature.

- Flow Cytometry Analysis

  - Use cytometer with a Blue laser 488nm and Red laser 638 nm.

  - Use 2.4 m and 3.2 m tracking beads for instrument calibration.

  - ﻿Using the following detectors for fluorescence detection: BL1 (530/30) for SYBR Green and Alexa Fluor® 488 azide (AF488), VL1 (440/50) for Alexa Fluor® 405 azide (AF405), RL1 (670/14) for Alexa Fluor® 647 azide (AF647), and LDS 751.

  - Set trigger at 2000 on Side Scatter SSC-H (for LDS 751) or on BL1 (for SYBR Green).

  - Optimise voltages for each detector.

  - Use size-standardized beads ranging from 0.5 to 2 μm to determine bacterial and virus like particles populations.

  - Perform counts on three replicates of each sample.

## Metagenomics and Metatranscriptomics

- Following analysis to be carried out in lab of Catherine Larose. Method taken from  Maccario et al., 2014.

- Isolate DNA and RNA from samples (6 snow and 6 ice) by chopping each filter and placing in bead-beating tube, adding 1mL of extraction buffer and 20 mg mL-1 lysing enzyme.

- Leave tubes at room temperature for one hour then freeze overnight at 20C.

- Incubate frozen tubes at 65C for 30 minutes and place in bead-beater at speed 5.5 for 30 seconds.

- Extract DNA/RNA from water phase with equal volumes of chloroform:isoamyl alcohol and precipitate with isopropanol.

- Have DNA/RNA sequenced.

# Questions

## Field Sampling

- Where can I get a bodysuit and latex gloves?

- Is there a GPS receiver I can use that will show elevation?

- Is there a thermometer I can use?

- How do you record temperature in snow and ice? Is this necessary?

- How should I record my findings? Pencil and paper?

- Is there a Teflon shovel I can use? How can I sterile this?

- Is 3 L a normal amount of snow/ice to collect per filter?

- How can I get sampling bags? How can I sterilise them?

- How will I transport my samples back to the field laboratory?

- Are there enough glass jars for me to use? How do I prepare them before coming to Svalbard? How do I ship them to Svalbard? Is 1 L a normal amount to collect for DOC analysis? How big are the jars?

- Is 1 L a normal amount to collect for dissolved nutrient analysis? Is it okay to put these samples into sterile Whirl-Pak bags?

- How will I remove the remaining snow to reach the ice?

- Is there an ice corer I can use? How much ice does the ice corer remove? Can I follow the same method outlined for my snow samples as for my ice samples?

- How will I return all my samples/equipment to the field laboratory?

## Field lab processing

- Is it correct to let all samples melt at room temperature?

- Are there pH and conductivity meters I can use? What is the protocol for measuring these?

- Which filters do I need? How can I get these filters? How do I get them to Svalbard?

- Which filtration units do I need? How can I get them? Do I need one for each sample? How do I get them to Svalbard?

- Will I be able to carry out 16S and 18S sequencing on the same filter/sample or do I need two filters for this?

- Is it correct that for metagenomic/metatranscriptomic analysis I just collect filters in the same way I would for regular 16S/18S sequencing? Is there anything I need to do differently?

- How do I store samples at -20C? How do I get them back to the UK?

- What concentration of HPG should be used for BONCAT?

- How long should the BONCAT samples be incubated for? Should they be incubated in the dark? What container should I incubate the samples in? What volume of meltwater should I use for BONCAT?

- Will I be re-using one glass filtration unit for DOC measurements?

- What volume do my DOC samples need to be? Should I be carrying out analysis of each sample in triplicate?

- Can I get/how do I get the glass filters and glass filtration unit? How do I prep and ship them?

- Can I get the amber glass vials I need? How do I prep and ship them?

- Can I get HCl?

- Is 3C a good temperature to ship my DOC samples? How do I ship them back to the UK?

- Which filters are best for anion and cation analysis?

- Do I re-use the syringe and plastic tubing for my ion analysis? Or is it single use?

- Do I need separate samples to ship back for cations and anions?

- Is 1 L a large enough snow/ice sample for nutrient analysis? What volume needs shipping back to the UK?

## UK Lab Processing

- Is there a Shimadzu TOC-L Organic Carbon Analyzer with a high-sensitivity catalyst that I can use? What catalyst is used in this analysis?

- Do we have the facilities for me to measure TDN/TDP via digestion with purified potassium persulfate, sodium hydroxide and boric acid reagent and autoclaving at 121C?

- Will Automated colorimetric flow injection analysis measure my PO4/NH4 concentrations? How do I do this?

- Do I use HCl to acidify my samples prior to nebulizing? What is nebulizing? What does the acidification step do? Is it okay to do this to my cation samples back in the UK? Why does this need to be done for cation samples?

- Will Inductively coupled plasma optical emission spectroscopy be suitable for measuring Fe? Is this available at QMUL? How do I use it?

- Will Inductively coupled plasma mass spectrometry be suitable for measure K, Mg and Na? Is this available at QMUL? How do I use it?

- Will Ion chromatography be suitable for measuring NO3, SO4, Ca and Cl? Is this available at QMUL? How do I use it?

- Is it possible to measure NO2 using an automated photometric analyser? Is this available at QMUL? How do I use it?

- What methods are normally used at QMUL for extracting DNA/RNA? Has RNA previously been converted to cDNA? Can anyone show me how to do this?

- Do I need one AllPrep DNA/RNA/miRNA Universal kit and cDNA Synthesis Kit for all samples or one for each sample?

- Can I sequence 18S and 16S rRNA gene from the same sample?

- Where do I send samples for sequencing?

- Are the chemicals/equipment required for BONCAT available at QMUL? If not, how do I acquire them?

- Is there a cytometer with a Blue laser 488nm and Red laser 638 nm available for use?

- Will I be able to carry out metagenomic/metatranscriptomic analysis of 12 samples (6 snow and 6 ice) in Catherine Larose’s lab? Do I need to supply anything other than my samples? When might this take place?

# References

Bhatia, M. P., Das, S. B., Longnecker, K., Charette, M. A., and Kujawinski, E. B. (2010). Molecular characterization of dissolved organic matter associated with the Greenland ice sheet. Geochim. Cosmochim. Acta 74, 3768–3784. doi:10.1016/j.gca.2010.03.035.

Bhatia, M. P., Das, S. B., Xu, L., Charette, M. A., Wadham, J. L., and Kujawinski, E. B. (2013). Organic carbon export from the Greenland ice sheet. Geochim. Cosmochim. Acta 109, 329–344. doi:10.1016/j.gca.2013.02.006.

Denef, V. J., Fujimoto, M., Berry, M. A., and Schmidt, M. L. (2016). Seasonal succession leads to habitat-dependent differentiation in ribosomal RNA:DNA ratios among freshwater lake bacteria. Front. Microbiol. 7, 1–13. doi:10.3389/fmicb.2016.00606.

Fellman, J. B., Hood, E., Raymond, P. A., Stubbins, A., and Spencer, R. G. M. (2015). Spatial Variation in the Origin of Dissolved Organic Carbon in Snow on the Juneau Icefield, Southeast Alaska. Environ. Sci. Technol. 49, 11492–11499. doi:10.1021/acs.est.5b02685.

Gao, T., Kang, S., Zhang, Y., Sprenger, M., Wang, F., Du, W., et al. (2020). Characterization, sources and transport of dissolved organic carbon and nitrogen from a glacier in the Central Asia. Sci. Total Environ. 725, 138346. doi:10.1016/j.scitotenv.2020.138346.

Grzesiak, J., Górniak, D., Świątecki, A., Aleksandrzak-Piekarczyk, T., Szatraj, K., and Zdanowski, M. K. (2015). Microbial community development on the surface of Hans and Werenskiold Glaciers (Svalbard, Arctic): a comparison. Extremophiles 19, 885–897. doi:10.1007/s00792-015-0764-z.

Hell, K., Edwards, A., Zarsky, J., Podmirseg, S. M., Girdwood, S., Pachebat, J. A., et al. (2013). The dynamic bacterial communities of a melting High Arctic glacier snowpack. ISME J. 7, 1814–1826. doi:10.1038/ismej.2013.51.

Heppell, C., Louise Heathwaite, A., Binley, A., Byrne, P., Ullah, S., Lansdown, K., et al. (2014). Interpreting spatial patterns in redox and coupled water-nitrogen fluxes in the streambed of a gaining river reach. Biogeochemistry 117, 491–509. doi:10.1007/s10533-013-9895-4.

Holland, A. T., Williamson, C. J., Sgouridis, F., Tedstone, A. J., McCutcheon, J., Cook, J. M., et al. (2019). Dissolved organic nutrients dominate melting surface ice of the Dark Zone (Greenland Ice Sheet). Biogeosciences 16, 3283–3296. doi:10.5194/bg-16-3283-2019.

Larose, C., Dommergue, A., and Vogel, T. M. (2013). Microbial nitrogen cycling in Arctic snowpacks. Environ. Res. Lett. 8. doi:10.1088/1748-9326/8/3/035004.

Lindivat, M., Larsen, A., Hess-Erga, O. K., Bratbak, G., and Hoell, I. A. (2020). Bioorthogonal Non-canonical Amino Acid Tagging Combined With Flow Cytometry for Determination of Activity in Aquatic Microorganisms. Front. Microbiol. 11. doi:10.3389/fmicb.2020.01929.

Lutz, S., Anesio, A. M., Raiswell, R., Edwards, A., Newton, R. J., Gill, F., et al. (2016). The biogeography of red snow microbiomes and their role in melting arctic glaciers. Nat. Commun. 7, 1–9. doi:10.1038/ncomms11968.

Maccario, L., Vogel, T. M., and Larose, C. (2014). Potential drivers of microbial community structure and function in Arctic spring snow. Front. Microbiol. 5, 1–11. doi:10.3389/fmicb.2014.00413.

McCutcheon, J., Lutz, S., Williamson, C., Cook, J. M., Tedstone, A. J., Vanderstraeten, A., et al. (2021). Mineral phosphorus drives glacier algal blooms on the Greenland Ice Sheet. Nat. Commun. 12, 1–11. doi:10.1038/s41467-020-20627-w.

Musilova, M., Tranter, M., Wadham, J., Telling, J., Tedstone, A., and Anesio, A. M. (2017). Microbially driven export of labile organic carbon from the Greenland ice sheet. Nat. Geosci. 10, 360–365. doi:10.1038/ngeo2920.

Samui, G., Antony, R., and Thamban, M. (2020). Fate of Dissolved Organic Carbon in Antarctic Surface Environments During Summer. J. Geophys. Res. Biogeosciences 125, 1–14. doi:10.1029/2020jg005958.

Telling, J., Anesio, A. M., Tranter, M., Fountain, A. G., Nylen, T., Hawkings, J., et al. (2014). Spring thaw ionic pulses boost nutrient availability and microbial growth in entombed Antarctic Dry Valley cryoconite holes. Front. Microbiol. 5, 1–15. doi:10.3389/fmicb.2014.00694.

# Appendix

## Equipment List

### Field Sampling

Bodysuit x1

Latex gloves x10

GPS receiver x1

Thermometer x1

Ethanol

Sterile Teflon shovel x1

Sterile 3 L sampling bags x63

Sterile 1 L sampling bags x33

Combusted glass jars with caps x27

Combusted foil for glass jar caps x27

Ice corer x1

Autoclaved Milli-Q water x18 L

12 snow microbial samples 16S/18S = 3L snow x 12

12 ice microbial samples 16S/18S = 3L snow x 12

3 snow samples for metagenomics  = 3L snow x 3

3 ice samples for metatranscriptomics

3 snow samples for BONCAT

3 ice samples for BONCAT

### Field Lab Processing

pH meter

Conductivity meter

0.2 µm 47 mm filters x62

Sterile filtration unit x62

Sterile bead-beating tubes x60

100 m filter and sterile filtration unit x6

L-homopropargylglycine (HPG)

Dimethyl Sulfoxide

Containers for BONCAT incubations x30

Formaldehyde

Chloramphenicol

Glass filtration unit

Furnaced 47mm, 0.7 m GF/F x27

Furnaced amber glass vials x27

HCl

Syringe x30

Plastic tubing x30

0.2 m 13mm polypropylene filter or 25mm cellulose acetate x30

High-density polyethylene plastic bottle x30

### UK/France Lab Processing

Shimadzu TOC-L Organic Carbon Analyzer with a high-sensitivity catalyst

HCl

Catalytic combuster

Purified potassium persulfate

Sodium hydroxide

Boric acid reagent

Autoclave

Automated colorimetric flow injection analyser (Seal AQ2)

Inductively coupled plasma optical emission spectroscopy equipment (ICP-OES) (Varian Vista-Pro)

Inductively coupled plasma mass spectrometry equipment (ICP-MS)

Ion chromatography (IC) equipment (Dionex-ICS2500)

Automated photometric analyser

AllPrep DNA/RNA/miRNA Universal kit x

cDNA Synthesis Kit

Centrifuge

Phosphate buffered saline

Ethanol

Copper sulfate

MilliQ water

Tris ﻿[(1-hydroxypropyl-1H-1,2,3-triazol-4-yl)methyl] amine (THPTA)

Freezer

Sodium ascorbate

Aminoguanidine hydrochloride

Dark space for click chemistry reaction

Azide dyes

Eppendorf tubes

Flow cytometer (with a Blue laser 488nm and Red laser 638 nm)

Beat-beating tubes

Extraction buffer

Lysing enzyme

Chloroform

Isoamyl alcohol

Isopropanol

## Sampling Strategy

Figure 1. Nested sampling strategy on Foxfonna glacier. Sampling points A1-4, B1-4, C1-4

## Sample Volumes

Table 1. Snow/ice volumes needed for collection from each sampling point A-C, 1-4. Working on the assumption that 2-3 L snow/ice melt is needed per filter for microbial analysis, and 1 L snow/ice melt is needed each for DOC and nutrient analysis (ions).

| Sampling point | 16S/18S rRNA gene | 16S /18S rRNA transcript | Metagenomics | Transcriptomics | BONCAT | DOC | Ions |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice |
| A2 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| A3 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| A4 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| B1 | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice |
| B2 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| B3 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| B4 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| C1 | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice |
| C2 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| C3 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| C4 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |

## Temperature, pH and Conductivity

Table 2. Potential values and methods for quantifying temperature, pH and conductivity in the field and field laboratory.

| Measurement | Average supraglacial values | Method |
| --- | --- | --- |
| Temperature | 0C (Lutz et al., 2016) | Thermometer |
| pH | 3.47-8.7 (Hell et al., 2013; Grzesiak et al., 2015; Lutz et al., 2016; McCutcheon et al., 2021) | pH meter |
| Conductivity | 1.25-10.1 S cm-1 (Hell et al., 2013; McCutcheon et al., 2021) | Conductivity meter |

## DOC and dissolved nutrients

Table 3. Potential values and methods for quantifying chemical composition of snow and ice samples post-field work. TON= Total oxidized nitrogen. TDN= Total dissolved nitrogen. TDP = Total dissolved phosphorus. TOC = Total organic carbon.

| Measurement | Average supraglacial concentrations | Method |
| --- | --- | --- |
| DOC | Snow/Ice: 0.06–3.40 mg L−1 (Gao et al., 2020) | Thermal oxidation (Thermalox TOC/TNAnalyzer) using the non-purgeable organic carbon (NPOC) method LOD = 1.0 mg L-1 (Heppell et al., 2014) Use a Shimadzu TOC-L Organic Carbon Analyzer with a high-sensitivity catalyst. Measure NPOC after acidification of samples with HCl and catalytic combustion (680C) of dissolved organic carbon to carbon dioxide, then measure by infrared absorption. LOD=9.5 µM. (Holland et al., 2019) |
| TOC |  | Measured using TOC-L analyser with unfiltered sample (Jungblut, supervision). |
| DON |  | DON = TDN-DIN. LOD = ﻿ 0.87µM (Holland et al., 2019) |
| DOP |  | DOP = TDP - DIP (Holland et al., 2019) |
| PO43- (DIP) | 0.02-0.03 mg L-1 (Grzesiak et al., 2015) | Automated colorimetric flow injection analysis (Seal AQ2) (Heppell et al., 2014) Flow injection analyser using the molybdenum blue methods measured at 880 nm, LOD = 0.02 µM (Holland et al., 2019). |
| TDP |  | Digest samples with purified potassium persulfate, sodium hydroxide and boric acid reagent and autoclaving at 121C for 30 mins. Measurements of TDP based on hydrazine-sulphanilamide reaction method measured at 540 nm (Holland et al., 2019) |
| TDN |  | Digest samples with purified potassium persulfate, sodium hydroxide and boric acid reagent and autoclaving at 121C for 30 mins. Measurements of TDN based on hydrazine-sulphanilamide reaction method measured at 540 nm (Holland et al., 2019) |
| TON |  | Automated photometric analyser LOD = 0.64µM (Holland et al., 2019) |
| NH4+ (DIN) | <0.005 mg L-1 (Telling et al., 2014; Grzesiak et al., 2015) | Automated colorimetric flow injection analysis (Seal AQ2) LOD = ﻿0.03mgN L-1 (Heppell et al., 2014) Flow injection analyser with measurements based on phenolate-hypochlorite alkaline reaction method measured at 630 nm (LOD = 0.62 M= 0.07 mg L-1) (Holland et al., 2019) |
| NO3- (DIN) | 0.01-0.11 mg L-1 (Grzesiak et al., 2015; McCutcheon et al., 2021) | IC (Dionex-ICS2500) LOD = ﻿0.04 mg N L-1 (Heppell et al., 2014) Calculate NO3- by subtracting NO2- from TON (Holland et al., 2019) |
| NO2- (DIN) |  | Automated photometric analyser LOD = ﻿0.14µM (Holland et al., 2019) |
| SO42- | 0.02-0.23 mg L-1 (Grzesiak et al., 2015; Samui et al., 2020) | IC (Dionex-ICS2500) LOD = ﻿0.3 mg S L1 (Heppell et al., 2014) |
| Ca- | 0.01-3.46 mg L-1 (Grzesiak et al., 2015; McCutcheon et al., 2021) |  |
| Cl- | 0.10 – 0.80 mg L-1 (Grzesiak et al., 2015; Samui et al., 2020) | IC (Dionex-ICS2500) LOD = ﻿0.7 mg L-1 (Heppell et al., 2014) |
| Fe+ | 0.002-0.4mg L-1 (Grzesiak et al., 2015; McCutcheon et al., 2021) | ICP-OES (Varian Vista-Pro) LOD = ﻿0.01 mgL-1 (Heppell et al., 2014) |
| K+ | 0.02-0.28 mg L-1 (Grzesiak et al., 2015; Samui et al., 2020; McCutcheon et al., 2021) |  |
| Mg2+ | 0.01-0.27mg L-1 (Telling et al., 2014; Grzesiak et al., 2015; Samui et al., 2020; McCutcheon et al., 2021) |  |
| Na+ | 0.38--1.40 mg L-1 (Grzesiak et al., 2015; Samui et al., 2020) |  |

## DOC Methods

Table 4. Methods for analysing dissolved organic carbon in polar environments

| Initial collection | Melting | Filtering | Acidification | Analysis | Study |
| --- | --- | --- | --- | --- | --- |
| Sterile WhirlPak plastic bags | Melted and water collected in combusted glass or Teflon bottles | 0.2m Sterivex cartridges, pre-cleaned by soaking in 10% HCl + rinsing with 20L Milli-Q water or a combusted GFF (Whatman) pre-filter and a combusted 0.2 m Anodisc membrane | Acidify and store in combusted vial. | Quantified as non-pugeable organic carbon (NPOC) by high temperature combustion with a Shimadzu TOC-VCSH analyser + high sensitivity platinum catalyst. | (Bhatia et al., 2010) |
| 250mL glass bottles combusted at 450C for 4 h. Rinsed 3 times with sample filtrate prior to collection | NA – used stream samples | Combusted glass filtration apparatus, through a combusted pre-weighed glass-fiber pre-filter ﻿(nominal pore-size 0.7-m) and a combusted 0.2-m Anodisc membrane. | Acidified to pH 2 with concentrated HCl, and stored in a 40-mL glass vial. | Quantified as non-pugeable organic carbon (NPOC) by high temperature combustion with a Shimadzu TOC-VCSH analyser + high sensitivity platinum catalyst. | (Bhatia et al., 2013) |
| Collected using precleaned polyethylebe shovel. Stored in acid-washed high-density polyethylene bottles (wide-mouth 4L). | Melted at room temp | Precleaned Whatman Polycap 36TC filters (0.2-m). |  | High-temperature nonpurgeable organic carbon analysis on a Shimadza TOC-VCSH analyser using a high-sensitivity catalyst to enable detection of low DOC concentrations | (Fellman et al., 2015) |
| Sterile Whirl-Pak bags. | Melted at ambient temperature (10C) | Pre-cleaned and pre-furnaced glass filtration apparatus (0.70 m GF/F filters) into pre-furnaced borosilicate amber glass bottles. | Acidified to pH 2–3 with concentrated HCl and stored at ≤4 °C | Non-purgeable organic carbon by high-temperature combustion (680 °C), using a Shimadzu TOC-VCSN/TNM-1 Analyser equipped with a high sensitivity catalyst. | (Musilova et al., 2017) |
| Glass bottles combusted at 500C. Rinsed 3 times with sample prior to collection. | Melt overnight | Wash glass filtration column three times with sample water. Filter sample using glass filtration column and a furnaced 47mm, 0.7 m GF/F. Store filtrate in pre-furnaced amber glass vial. | Acidify with 100 L of 1M HCl. Chill sample to 3C. | Shimadzu TOC-L Organic Carbon Analyzer with a high-sensitivity catalyst. Measure NPOC after acidification of samples with HCl and catalytic combustion (680°C) of DOC to CO2, then measure by infrared absorption. | (Holland et al., 2019) |