May Svalbard Expedition Plan 2021

Amy Solman

# Equipment Prep

# Field Sampling

- Wear bodysuit and latex gloves to reduce sample contamination.

- At sampling point, prior to sample collection, record GPS coordinates, elevation and temperature.

- Take snow sample for microbial analysis. Using ethanol sterilized Teflon shovel fill two sterile 3 L sampling bags (Table 1).

- Take snow sample for DOC analysis and deposit directly into combusted glass jars.

- Take snow sample for chemical analysis and place in sterile Whirl-Pak bag (Holland et al., 2019).

- After collecting snow sample, remove remaining snow at sample point until ice is reached. Use an ice corer to extract ice sample.

- Repeat ice collection for microbial, DOC and chemical analysis.

- Repeat for all 12 sampling points.

- Take three sets of procedural blanks for microbial, DOC and chemical analysis by filling three 3 L bags, three 1 L bags and three jars with autoclaved Milli-Q water (Holland et al., 2019).

- Keep all samples frozen and return to field laboratory.

# Field Lab Processing

- Melt all samples at room temperature (Larose et al., 2013; Holland et al., 2019).

- Take small subset of each 16S/18S gene snow/ice sample and use meters to test for pH and conductivity.

- Microbial analysis 16S/18S rRNA gene/gene transcript sequencing (Larose et al., 2013):

  - Filter each 3L melted sample through one sterile 0.2 µm 47 mm filters using a sterile filtration unit.

  - Store in sterile bead-beating tubes at -20C for transport back to the UK (Larose et al., 2013).

- Microbial analysis metagenomics/metatranscriptomics: as above.

- Microbial analysis BONCAT (Lindivat et al., 2020):

  - Filter 1 L melted samples at 100 m to avoid instrument clogging.

  - Prepare ﻿100 mM L-homopropargylglycine (HPG) pH 7.0 ﻿in pure Dimethyl Sulfoxide (DMSO), pass through 0.2 μm sterile filter and kept at 4°C.

  - Dilute HPG in milliQ water and add to samples in triplicate.

  - Prepare 6 negative control samples without HPG.

  - Prepare 6 control samples with Chloramphenicol added to HPG.

  - Incubate samples in the dark.

  - After incubation, samples were fixed with 0.2 μm-filtered formaldehyde to a final concentration of 3% before storing at −20°C for return to UK.

- DOC samples (Holland et al., 2019):

  - Wash glass filtration column three times with sample meltwater.

  - Filter sample using glass filtration column and a furnaced 47mm, 0.7 m GF/F.

  - Store filtrate in pre-furnaced amber glass vial.

  - Acidify with 100 L of 1M HCl. Chill sample to 3C for transport back to UK.

  - Repeat for 3 procedural blanks with sterile water.

- Dissolved nutrient samples:

  - Flush syringe and plastic tubing with sample meltwater.

  - Filter through 0.2 m 13mm polypropylene filter or 25mm cellulose acetate filters

  - Store in high-density polyethylene plastic bottle.

  - Freeze bottle at -20C and store for transport back to UK (Holland et al., 2019).

  - Repeat with sterile water for 6 procedural blanks.

# UK Lab Processing

## Measure DOC  (Holland et al., 2019)

  - Use a Shimadzu TOC-L Organic Carbon Analyzer with a high-sensitivity catalyst. Measure non-puragable organic carbon (NPOC) after acidification of samples with HCl and catalytic combustion (680C) of dissolved organic carbon to carbon dioxide, then measure by infrared absorption. LOD=9.5 µM.

## Measure DON

  - DON = TDN-DIN (NH4+ + NO3- + NO2-). Calculate Total dissolved nitrogen and dissolved inorganic nitrogen.

    - To measure TDN: Digest samples with purified potassium persulfate, sodium hydroxide and boric acid reagent and autoclaving at 121C for 30 mins.

    - Measurements of TDN based on hydrazine-sulphanilamide reaction method measured at 540 nm (Holland et al., 2019).

## Measure DOP

  - DOP = TDP - DIP (Holland et al., 2019). Calculate total dissolved phosphorus and dissolved inorganic phosphorus.

    - To measure TDP: Digest samples with purified potassium persulfate, sodium hydroxide and boric acid reagent and autoclaving at 121C for 30 mins.

    - Measurements of TDP based on hydrazine-sulphanilamide reaction method measured at 540 nm.

## Measure PO43- (DIP)

  - Automated colorimetric flow injection analysis (Seal AQ2) (Heppell et al., 2014)

## Measure cations

  - Acidify samples prior to nebulizing.

  - NH4+ (DIN)

    - Automated colorimetric flow injection analysis (Seal AQ2) LOD = ﻿0.03mgN L-1 (Heppell et al., 2014)

  - Fe:

    - Inductively coupled plasma optical emission spectroscopy (ICP-OES) (Varian Vista-Pro) LOD = ﻿0.01 mgL-1 (Heppell et al., 2014).

  - K+

    - Inductively coupled plasma mass spectrometry (ICP-MS)

  - Mg2+

    - ICP-MS

  - Na+

    - ICP-MS

## Measure anions

  - NO3- (DIN)

    - Ion chromatography (IC) (Dionex-ICS2500) LOD = ﻿0.04 mg N L-1 (Heppell et al., 2014)

  - NO2- (DIN)

    - Automated photometric analyser LOD = ﻿0.14µM (Holland et al., 2019)

  - SO42-

    - IC (Dionex-ICS2500) LOD = ﻿0.3 mg S L1 (Heppell et al., 2014)

  - Ca-

    - IC

  - Cl-

    - IC (Dionex-ICS2500) LOD = ﻿0.7 mg L-1  (Heppell et al., 2014)

## 16S/18S rRNA gene and gene transcript sequencing

- Carry out duplicate nucleic acid extractions from each filter membrane for each field sample (48 extractions total)

## Metagenomics

## Metatranscriptomics

## BONCAT

# Questions

## Questions: Field

## Questions: Field Lab Processing

## Questions: UK Lab Processing

# References

Bhatia, M. P., Das, S. B., Longnecker, K., Charette, M. A., and Kujawinski, E. B. (2010). Molecular characterization of dissolved organic matter associated with the Greenland ice sheet. Geochim. Cosmochim. Acta 74, 3768–3784. doi:10.1016/j.gca.2010.03.035.

Bhatia, M. P., Das, S. B., Xu, L., Charette, M. A., Wadham, J. L., and Kujawinski, E. B. (2013). Organic carbon export from the Greenland ice sheet. Geochim. Cosmochim. Acta 109, 329–344. doi:10.1016/j.gca.2013.02.006.

Fellman, J. B., Hood, E., Raymond, P. A., Stubbins, A., and Spencer, R. G. M. (2015). Spatial Variation in the Origin of Dissolved Organic Carbon in Snow on the Juneau Icefield, Southeast Alaska. Environ. Sci. Technol. 49, 11492–11499. doi:10.1021/acs.est.5b02685.

Gao, T., Kang, S., Zhang, Y., Sprenger, M., Wang, F., Du, W., et al. (2020). Characterization, sources and transport of dissolved organic carbon and nitrogen from a glacier in the Central Asia. Sci. Total Environ. 725, 138346. doi:10.1016/j.scitotenv.2020.138346.

Grzesiak, J., Górniak, D., Świątecki, A., Aleksandrzak-Piekarczyk, T., Szatraj, K., and Zdanowski, M. K. (2015). Microbial community development on the surface of Hans and Werenskiold Glaciers (Svalbard, Arctic): a comparison. Extremophiles 19, 885–897. doi:10.1007/s00792-015-0764-z.

Hell, K., Edwards, A., Zarsky, J., Podmirseg, S. M., Girdwood, S., Pachebat, J. A., et al. (2013). The dynamic bacterial communities of a melting High Arctic glacier snowpack. ISME J. 7, 1814–1826. doi:10.1038/ismej.2013.51.

Heppell, C., Louise Heathwaite, A., Binley, A., Byrne, P., Ullah, S., Lansdown, K., et al. (2014). Interpreting spatial patterns in redox and coupled water-nitrogen fluxes in the streambed of a gaining river reach. Biogeochemistry 117, 491–509. doi:10.1007/s10533-013-9895-4.

Holland, A. T., Williamson, C. J., Sgouridis, F., Tedstone, A. J., McCutcheon, J., Cook, J. M., et al. (2019). Dissolved organic nutrients dominate melting surface ice of the Dark Zone (Greenland Ice Sheet). Biogeosciences 16, 3283–3296. doi:10.5194/bg-16-3283-2019.

Larose, C., Dommergue, A., and Vogel, T. M. (2013). Microbial nitrogen cycling in Arctic snowpacks. Environ. Res. Lett. 8. doi:10.1088/1748-9326/8/3/035004.

Lindivat, M., Larsen, A., Hess-Erga, O. K., Bratbak, G., and Hoell, I. A. (2020). Bioorthogonal Non-canonical Amino Acid Tagging Combined With Flow Cytometry for Determination of Activity in Aquatic Microorganisms. Front. Microbiol. 11. doi:10.3389/fmicb.2020.01929.

Lutz, S., Anesio, A. M., Raiswell, R., Edwards, A., Newton, R. J., Gill, F., et al. (2016). The biogeography of red snow microbiomes and their role in melting arctic glaciers. Nat. Commun. 7, 1–9. doi:10.1038/ncomms11968.

McCutcheon, J., Lutz, S., Williamson, C., Cook, J. M., Tedstone, A. J., Vanderstraeten, A., et al. (2021). Mineral phosphorus drives glacier algal blooms on the Greenland Ice Sheet. Nat. Commun. 12, 1–11. doi:10.1038/s41467-020-20627-w.

Musilova, M., Tranter, M., Wadham, J., Telling, J., Tedstone, A., and Anesio, A. M. (2017). Microbially driven export of labile organic carbon from the Greenland ice sheet. Nat. Geosci. 10, 360–365. doi:10.1038/ngeo2920.

Samui, G., Antony, R., and Thamban, M. (2020). Fate of Dissolved Organic Carbon in Antarctic Surface Environments During Summer. J. Geophys. Res. Biogeosciences 125, 1–14. doi:10.1029/2020jg005958.

Telling, J., Anesio, A. M., Tranter, M., Fountain, A. G., Nylen, T., Hawkings, J., et al. (2014). Spring thaw ionic pulses boost nutrient availability and microbial growth in entombed Antarctic Dry Valley cryoconite holes. Front. Microbiol. 5, 1–15. doi:10.3389/fmicb.2014.00694.

# Appendix

## Equipment List

## Sampling Strategy

Figure 1. Nested sampling strategy on Foxfonna glacier. Sampling points A1-4, B1-4, C1-4

## Sample Volumes

Table 1. Snow/ice volumes needed for collection from each sampling point A-C, 1-4. Working on the assumption that 2-3 L snow/ice melt is needed per filter for microbial analysis, and 1 L snow/ice melt is needed each for DOC and nutrient analysis (ions).

| Sampling point | 16S/18S rRNA gene | 16S /18S rRNA transcript | Metagenomics | Transcriptomics | BONCAT | DOC | Ions |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice |
| A2 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| A3 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| A4 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| B1 | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice |
| B2 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| B3 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| B4 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| C1 | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 3 L snow 3 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice | 1 L snow 1 L ice |
| C2 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| C3 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |
| C4 | 3 L snow 3 L ice | 3 L snow 3 L ice |  |  |  | 1 L snow 1 L ice | 1 L snow 1 L ice |

## Temperature, pH and Conductivity

Table 2. Potential values and methods for quantifying temperature, pH and conductivity in the field and field laboratory.

| Measurement | Average supraglacial values | Method |
| --- | --- | --- |
| Temperature | 0C (Lutz et al., 2016) | Thermometer |
| pH | 3.47-8.7 (Hell et al., 2013; Grzesiak et al., 2015; Lutz et al., 2016; McCutcheon et al., 2021) | pH meter |
| Conductivity | 1.25-10.1 S cm-1 (Hell et al., 2013; McCutcheon et al., 2021) | Conductivity meter |

## DOC and dissolved nutrients

Table 3. Potential values and methods for quantifying chemical composition of snow and ice samples post-field work. TON= Total oxidized nitrogen. TDN= Total dissolved nitrogen. TDP = Total dissolved phosphorus. TOC = Total organic carbon.

| Measurement | Average supraglacial concentrations | Method |
| --- | --- | --- |
| DOC | Snow/Ice: 0.06–3.40 mg L−1 (Gao et al., 2020) | Thermal oxidation (Thermalox TOC/TNAnalyzer) using the non-purgeable organic carbon (NPOC) method LOD = 1.0 mg L-1 (Heppell et al., 2014) Use a Shimadzu TOC-L Organic Carbon Analyzer with a high-sensitivity catalyst. Measure NPOC after acidification of samples with HCl and catalytic combustion (680C) of dissolved organic carbon to carbon dioxide, then measure by infrared absorption. LOD=9.5 µM. (Holland et al., 2019) |
| TOC |  | Measured using TOC-L analyser with unfiltered sample (Jungblut, supervision). |
| DON |  | DON = TDN-DIN. LOD = ﻿ 0.87µM (Holland et al., 2019) |
| DOP |  | DOP = TDP - DIP (Holland et al., 2019) |
| PO43- (DIP) | 0.02-0.03 mg L-1 (Grzesiak et al., 2015) | Automated colorimetric flow injection analysis (Seal AQ2) (Heppell et al., 2014) Flow injection analyser using the molybdenum blue methods measured at 880 nm, LOD = 0.02 µM (Holland et al., 2019). |
| TDP |  | Digest samples with purified potassium persulfate, sodium hydroxide and boric acid reagent and autoclaving at 121C for 30 mins. Measurements of TDP based on hydrazine-sulphanilamide reaction method measured at 540 nm (Holland et al., 2019) |
| TDN |  | Digest samples with purified potassium persulfate, sodium hydroxide and boric acid reagent and autoclaving at 121C for 30 mins. Measurements of TDN based on hydrazine-sulphanilamide reaction method measured at 540 nm (Holland et al., 2019) |
| TON |  | Automated photometric analyser LOD = 0.64µM (Holland et al., 2019) |
| NH4+ (DIN) | <0.005 mg L-1 (Telling et al., 2014; Grzesiak et al., 2015) | Automated colorimetric flow injection analysis (Seal AQ2) LOD = ﻿0.03mgN L-1 (Heppell et al., 2014) Flow injection analyser with measurements based on phenolate-hypochlorite alkaline reaction method measured at 630 nm (LOD = 0.62 M= 0.07 mg L-1) (Holland et al., 2019) |
| NO3- (DIN) | 0.01-0.11 mg L-1 (Grzesiak et al., 2015; McCutcheon et al., 2021) | IC (Dionex-ICS2500) LOD = ﻿0.04 mg N L-1 (Heppell et al., 2014) Calculate NO3- by subtracting NO2- from TON (Holland et al., 2019) |
| NO2- (DIN) |  | Automated photometric analyser LOD = ﻿0.14µM (Holland et al., 2019) |
| SO42- | 0.02-0.23 mg L-1 (Grzesiak et al., 2015; Samui et al., 2020) | IC (Dionex-ICS2500) LOD = ﻿0.3 mg S L1 (Heppell et al., 2014) |
| Ca- | 0.01-3.46 mg L-1 (Grzesiak et al., 2015; McCutcheon et al., 2021) |  |
| Cl- | 0.10 – 0.80 mg L-1 (Grzesiak et al., 2015; Samui et al., 2020) | IC (Dionex-ICS2500) LOD = ﻿0.7 mg L-1 (Heppell et al., 2014) |
| Fe+ | 0.002-0.4mg L-1 (Grzesiak et al., 2015; McCutcheon et al., 2021) | ICP-OES (Varian Vista-Pro) LOD = ﻿0.01 mgL-1 (Heppell et al., 2014) |
| K+ | 0.02-0.28 mg L-1 (Grzesiak et al., 2015; Samui et al., 2020; McCutcheon et al., 2021) |  |
| Mg2+ | 0.01-0.27mg L-1 (Telling et al., 2014; Grzesiak et al., 2015; Samui et al., 2020; McCutcheon et al., 2021) |  |
| Na+ | 0.38--1.40 mg L-1 (Grzesiak et al., 2015; Samui et al., 2020) |  |

## DOC Methods

Table 4. Methods for analysing dissolved organic carbon in polar environments

| Initial collection | Melting | Filtering | Acidification | Analysis | Study |
| --- | --- | --- | --- | --- | --- |
| Sterile WhirlPak plastic bags | Melted and water collected in combusted glass or Teflon bottles | 0.2m Sterivex cartridges, pre-cleaned by soaking in 10% HCl + rinsing with 20L Milli-Q water or a combusted GFF (Whatman) pre-filter and a combusted 0.2 m Anodisc membrane | Acidify and store in combusted vial. | Quantified as non-pugeable organic carbon (NPOC) by high temperature combustion with a Shimadzu TOC-VCSH analyser + high sensitivity platinum catalyst. | (Bhatia et al., 2010) |
| 250mL glass bottles combusted at 450C for 4 h. Rinsed 3 times with sample filtrate prior to collection | NA – used stream samples | Combusted glass filtration apparatus, through a combusted pre-weighed glass-fiber pre-filter ﻿(nominal pore-size 0.7-m) and a combusted 0.2-m Anodisc membrane. | Acidified to pH 2 with concentrated HCl, and stored in a 40-mL glass vial. | Quantified as non-pugeable organic carbon (NPOC) by high temperature combustion with a Shimadzu TOC-VCSH analyser + high sensitivity platinum catalyst. | (Bhatia et al., 2013) |
| Collected using precleaned polyethylebe shovel. Stored in acid-washed high-density polyethylene bottles (wide-mouth 4L). | Melted at room temp | Precleaned Whatman Polycap 36TC filters (0.2-m). |  | High-temperature nonpurgeable organic carbon analysis on a Shimadza TOC-VCSH analyser using a high-sensitivity catalyst to enable detection of low DOC concentrations | (Fellman et al., 2015) |
| Sterile Whirl-Pak bags. | Melted at ambient temperature (10C) | Pre-cleaned and pre-furnaced glass filtration apparatus (0.70 m GF/F filters) into pre-furnaced borosilicate amber glass bottles. | Acidified to pH 2–3 with concentrated HCl and stored at ≤4 °C | Non-purgeable organic carbon by high-temperature combustion (680 °C), using a Shimadzu TOC-VCSN/TNM-1 Analyser equipped with a high sensitivity catalyst. | (Musilova et al., 2017) |
| Glass bottles combusted at 500C. Rinsed 3 times with sample prior to collection. | Melt overnight | Wash glass filtration column three times with sample water. Filter sample using glass filtration column and a furnaced 47mm, 0.7 m GF/F. Store filtrate in pre-furnaced amber glass vial. | Acidify with 100 L of 1M HCl. Chill sample to 3C. | Shimadzu TOC-L Organic Carbon Analyzer with a high-sensitivity catalyst. Measure NPOC after acidification of samples with HCl and catalytic combustion (680°C) of DOC to CO2, then measure by infrared absorption. | (Holland et al., 2019) |